## Sheet1
Method
Application: Quick Scan
Location: Built-in
Originator: Biochrom
Created: 21/02/2011
Settings
Low Wavelength |  |  | 250 nm
High Wavelength |  |  | 700 nm
Interval |  |  | 0.5 nm
Speed |  |  | Medium
Mode |  |  | Absorbance
Bandwidth |  |  | 3 nm
Monitor |  |  | False
Monitor Interval |  |  | 0 s
Overlays |  |  | 10
Show References |  |  | False
Check Reference |  |  | False
Path Length |  |  | 10 mm
Normalise Absorbance |  |  | False
Auto Path Length |  |  | False
Background Correction |  |  | True
Background Wavelength |  |  | 320 nm
Results
Date and Time | 17/09/2021 14:09:15
Operator | APTBIO-LASER
Location
Data Validity | Verified
Optical Bench | Libra S22
Optical Bench SN | 132978
Firmware Version | V2.6 Apr 12 2016
Last Calibration | 17/09/2021 13:37:21
Last Baseline | 08/06/2017 11:09:57
Wavelength (nm) |  | Blank00002 |  | Sample00003
250 |  | 0.09 |  | 0.196
250.5 |  | 0.086 |  | 0.197
251 |  | 0.086 |  | 0.197
251.5 |  | 0.085 |  | 0.195
252 |  | 0.087 |  | 0.192
252.5 |  | 0.09 |  | 0.191
253 |  | 0.091 |  | 0.189
253.5 |  | 0.088 |  | 0.19
254 |  | 0.086 |  | 0.193
254.5 |  | 0.087 |  | 0.191
255 |  | 0.085 |  | 0.19
255.5 |  | 0.086 |  | 0.188
256 |  | 0.086 |  | 0.189
256.5 |  | 0.087 |  | 0.185
257 |  | 0.088 |  | 0.186
257.5 |  | 0.085 |  | 0.185
258 |  | 0.083 |  | 0.186
258.5 |  | 0.086 |  | 0.18
259 |  | 0.083 |  | 0.182
259.5 |  | 0.082 |  | 0.184
260 |  | 0.087 |  | 0.184
260.5 |  | 0.085 |  | 0.182
261 |  | 0.084 |  | 0.183
261.5 |  | 0.085 |  | 0.183
262 |  | 0.081 |  | 0.181
262.5 |  | 0.082 |  | 0.181
263 |  | 0.08 |  | 0.182
263.5 |  | 0.082 |  | 0.179
264 |  | 0.085 |  | 0.176
264.5 |  | 0.083 |  | 0.178
265 |  | 0.081 |  | 0.178
265.5 |  | 0.085 |  | 0.173
266 |  | 0.085 |  | 0.176
266.5 |  | 0.081 |  | 0.179
267 |  | 0.08 |  | 0.175
267.5 |  | 0.081 |  | 0.174
268 |  | 0.082 |  | 0.172
268.5 |  | 0.084 |  | 0.167
269 |  | 0.081 |  | 0.173
269.5 |  | 0.085 |  | 0.17
270 |  | 0.082 |  | 0.168
270.5 |  | 0.08 |  | 0.166
271 |  | 0.08 |  | 0.168
271.5 |  | 0.083 |  | 0.166
272 |  | 0.083 |  | 0.165
272.5 |  | 0.08 |  | 0.167
273 |  | 0.076 |  | 0.164
273.5 |  | 0.075 |  | 0.168
274 |  | 0.077 |  | 0.163
274.5 |  | 0.075 |  | 0.166
275 |  | 0.076 |  | 0.161
275.5 |  | 0.073 |  | 0.162
276 |  | 0.079 |  | 0.161
276.5 |  | 0.08 |  | 0.157
277 |  | 0.075 |  | 0.159
277.5 |  | 0.081 |  | 0.153
278 |  | 0.073 |  | 0.16
278.5 |  | 0.074 |  | 0.157
279 |  | 0.08 |  | 0.152
279.5 |  | 0.08 |  | 0.152
280 |  | 0.079 |  | 0.149
280.5 |  | 0.074 |  | 0.155
281 |  | 0.075 |  | 0.15
281.5 |  | 0.076 |  | 0.149
282 |  | 0.077 |  | 0.146
282.5 |  | 0.08 |  | 0.14
283 |  | 0.075 |  | 0.145
283.5 |  | 0.075 |  | 0.141
284 |  | 0.075 |  | 0.144
284.5 |  | 0.074 |  | 0.134
285 |  | 0.076 |  | 0.139
285.5 |  | 0.076 |  | 0.138
286 |  | 0.072 |  | 0.135
286.5 |  | 0.073 |  | 0.141
287 |  | 0.074 |  | 0.133
287.5 |  | 0.078 |  | 0.128
288 |  | 0.069 |  | 0.135
288.5 |  | 0.07 |  | 0.13
289 |  | 0.073 |  | 0.125
289.5 |  | 0.069 |  | 0.127
290 |  | 0.072 |  | 0.127
290.5 |  | 0.073 |  | 0.125
291 |  | 0.071 |  | 0.125
291.5 |  | 0.073 |  | 0.121
292 |  | 0.067 |  | 0.127
292.5 |  | 0.074 |  | 0.12
293 |  | 0.069 |  | 0.118
293.5 |  | 0.073 |  | 0.12
294 |  | 0.069 |  | 0.119
294.5 |  | 0.072 |  | 0.109
295 |  | 0.073 |  | 0.11
295.5 |  | 0.072 |  | 0.111
296 |  | 0.064 |  | 0.113
296.5 |  | 0.063 |  | 0.114
297 |  | 0.071 |  | 0.101
297.5 |  | 0.066 |  | 0.106
298 |  | 0.067 |  | 0.105
298.5 |  | 0.063 |  | 0.105
299 |  | 0.066 |  | 0.104
299.5 |  | 0.058 |  | 0.112
300 |  | 0.065 |  | 0.096
300.5 |  | 0.067 |  | 0.092
301 |  | 0.067 |  | 0.089
301.5 |  | 0.064 |  | 0.095
302 |  | 0.065 |  | 0.09
302.5 |  | 0.063 |  | 0.091
303 |  | 0.064 |  | 0.084
303.5 |  | 0.06 |  | 0.087
304 |  | 0.063 |  | 0.086
304.5 |  | 0.062 |  | 0.083
305 |  | 0.059 |  | 0.08
305.5 |  | 0.064 |  | 0.077
306 |  | 0.058 |  | 0.083
306.5 |  | 0.066 |  | 0.076
307 |  | 0.064 |  | 0.072
307.5 |  | 0.06 |  | 0.076
308 |  | 0.061 |  | 0.068
308.5 |  | 0.058 |  | 0.075
309 |  | 0.061 |  | 0.071
309.5 |  | 0.062 |  | 0.065
310 |  | 0.057 |  | 0.065
310.5 |  | 0.056 |  | 0.071
311 |  | 0.056 |  | 0.066
311.5 |  | 0.063 |  | 0.058
312 |  | 0.058 |  | 0.064
312.5 |  | 0.06 |  | 0.058
313 |  | 0.06 |  | 0.058
313.5 |  | 0.058 |  | 0.061
314 |  | 0.06 |  | 0.061
314.5 |  | 0.063 |  | 0.056
315 |  | 0.059 |  | 0.056
315.5 |  | 0.059 |  | 0.059
316 |  | 0.056 |  | 0.06
316.5 |  | 0.053 |  | 0.057
317 |  | 0.053 |  | 0.061
317.5 |  | 0.056 |  | 0.059
318 |  | 0.06 |  | 0.056
318.5 |  | 0.058 |  | 0.056
319 |  | 0.059 |  | 0.053
319.5 |  | 0.059 |  | 0.052
320 |  | 0.059 |  | 0.053
320.5 |  | 0.055 |  | 0.053
321 |  | 0.056 |  | 0.056
321.5 |  | 0.056 |  | 0.054
322 |  | 0.06 |  | 0.056
322.5 |  | 0.059 |  | 0.056
323 |  | 0.058 |  | 0.056
323.5 |  | 0.056 |  | 0.06
324 |  | 0.058 |  | 0.059
324.5 |  | 0.06 |  | 0.055
325 |  | 0.059 |  | 0.058
325.5 |  | 0.054 |  | 0.061
326 |  | 0.052 |  | 0.064
326.5 |  | 0.058 |  | 0.061
327 |  | 0.059 |  | 0.061
327.5 |  | 0.058 |  | 0.062
328 |  | 0.057 |  | 0.067
328.5 |  | 0.055 |  | 0.067
329 |  | 0.057 |  | 0.067
329.5 |  | 0.059 |  | 0.068
330 |  | 0.059 |  | 0.069
330.5 |  | 0.059 |  | 0.072
331 |  | 0.059 |  | 0.078
331.5 |  | 0.059 |  | 0.077
332 |  | 0.059 |  | 0.082
332.5 |  | 0.057 |  | 0.083
333 |  | 0.06 |  | 0.085
333.5 |  | 0.056 |  | 0.091
334 |  | 0.058 |  | 0.091
334.5 |  | 0.058 |  | 0.094
335 |  | 0.057 |  | 0.097
335.5 |  | 0.058 |  | 0.099
336 |  | 0.059 |  | 0.101
336.5 |  | 0.059 |  | 0.105
337 |  | 0.058 |  | 0.109
337.5 |  | 0.057 |  | 0.114
338 |  | 0.059 |  | 0.117
338.5 |  | 0.06 |  | 0.117
339 |  | 0.061 |  | 0.121
339.5 |  | 0.059 |  | 0.123
340 |  | 0.059 |  | 0.129
340.5 |  | 0.061 |  | 0.129
341 |  | 0.06 |  | 0.133
341.5 |  | 0.061 |  | 0.14
342 |  | 0.062 |  | 0.143
342.5 |  | 0.063 |  | 0.145
343 |  | 0.063 |  | 0.151
343.5 |  | 0.066 |  | 0.15
344 |  | 0.064 |  | 0.155
344.5 |  | 0.062 |  | 0.161
345 |  | 0.062 |  | 0.166
345.5 |  | 0.063 |  | 0.167
346 |  | 0.062 |  | 0.171
346.5 |  | 0.063 |  | 0.174
347 |  | 0.061 |  | 0.179
347.5 |  | 0.063 |  | 0.181
348 |  | 0.062 |  | 0.186
348.5 |  | 0.063 |  | 0.189
349 |  | 0.063 |  | 0.194
349.5 |  | 0.064 |  | 0.194
350 |  | 0.066 |  | 0.199
350.5 |  | 0.065 |  | 0.202
351 |  | 0.066 |  | 0.204
351.5 |  | 0.065 |  | 0.208
352 |  | 0.066 |  | 0.211
352.5 |  | 0.064 |  | 0.216
353 |  | 0.066 |  | 0.22
353.5 |  | 0.068 |  | 0.222
354 |  | 0.07 |  | 0.224
354.5 |  | 0.067 |  | 0.231
355 |  | 0.068 |  | 0.231
355.5 |  | 0.068 |  | 0.235
356 |  | 0.067 |  | 0.24
356.5 |  | 0.067 |  | 0.242
357 |  | 0.068 |  | 0.246
357.5 |  | 0.067 |  | 0.251
358 |  | 0.069 |  | 0.25
358.5 |  | 0.067 |  | 0.257
359 |  | 0.066 |  | 0.261
359.5 |  | 0.068 |  | 0.262
360 |  | 0.068 |  | 0.265
360.5 |  | 0.068 |  | 0.269
361 |  | 0.07 |  | 0.271
361.5 |  | 0.07 |  | 0.273
362 |  | 0.069 |  | 0.277
362.5 |  | 0.067 |  | 0.28
363 |  | 0.067 |  | 0.282
363.5 |  | 0.066 |  | 0.286
364 |  | 0.066 |  | 0.29
364.5 |  | 0.067 |  | 0.293
365 |  | 0.069 |  | 0.296
365.5 |  | 0.069 |  | 0.299
366 |  | 0.069 |  | 0.303
366.5 |  | 0.071 |  | 0.304
367 |  | 0.07 |  | 0.309
367.5 |  | 0.07 |  | 0.312
368 |  | 0.069 |  | 0.316
368.5 |  | 0.07 |  | 0.318
369 |  | 0.071 |  | 0.321
369.5 |  | 0.071 |  | 0.323
370 |  | 0.072 |  | 0.326
370.5 |  | 0.072 |  | 0.33
371 |  | 0.072 |  | 0.333
371.5 |  | 0.072 |  | 0.336
372 |  | 0.072 |  | 0.34
372.5 |  | 0.072 |  | 0.342
373 |  | 0.072 |  | 0.346
373.5 |  | 0.073 |  | 0.349
374 |  | 0.073 |  | 0.353
374.5 |  | 0.073 |  | 0.355
375 |  | 0.075 |  | 0.359
375.5 |  | 0.075 |  | 0.362
376 |  | 0.076 |  | 0.366
376.5 |  | 0.076 |  | 0.369
377 |  | 0.076 |  | 0.372
377.5 |  | 0.075 |  | 0.375
378 |  | 0.075 |  | 0.378
378.5 |  | 0.075 |  | 0.381
379 |  | 0.074 |  | 0.385
379.5 |  | 0.075 |  | 0.388
380 |  | 0.076 |  | 0.391
380.5 |  | 0.076 |  | 0.394
381 |  | 0.077 |  | 0.398
381.5 |  | 0.077 |  | 0.401
382 |  | 0.077 |  | 0.404
382.5 |  | 0.077 |  | 0.407
383 |  | 0.077 |  | 0.412
383.5 |  | 0.078 |  | 0.414
384 |  | 0.078 |  | 0.418
384.5 |  | 0.078 |  | 0.42
385 |  | 0.078 |  | 0.425
385.5 |  | 0.079 |  | 0.427
386 |  | 0.079 |  | 0.43
386.5 |  | 0.079 |  | 0.433
387 |  | 0.079 |  | 0.436
387.5 |  | 0.079 |  | 0.44
388 |  | 0.079 |  | 0.442
388.5 |  | 0.079 |  | 0.445
389 |  | 0.08 |  | 0.448
389.5 |  | 0.08 |  | 0.451
390 |  | 0.081 |  | 0.454
390.5 |  | 0.081 |  | 0.457
391 |  | 0.082 |  | 0.461
391.5 |  | 0.081 |  | 0.463
392 |  | 0.081 |  | 0.466
392.5 |  | 0.081 |  | 0.467
393 |  | 0.081 |  | 0.471
393.5 |  | 0.081 |  | 0.474
394 |  | 0.082 |  | 0.474
394.5 |  | 0.082 |  | 0.477
395 |  | 0.082 |  | 0.479
395.5 |  | 0.082 |  | 0.482
396 |  | 0.081 |  | 0.484
396.5 |  | 0.082 |  | 0.487
397 |  | 0.082 |  | 0.489
397.5 |  | 0.083 |  | 0.49
398 |  | 0.083 |  | 0.492
398.5 |  | 0.083 |  | 0.494
399 |  | 0.083 |  | 0.495
399.5 |  | 0.083 |  | 0.497
400 |  | 0.084 |  | 0.497
400.5 |  | 0.084 |  | 0.499
401 |  | 0.083 |  | 0.5
401.5 |  | 0.084 |  | 0.501
402 |  | 0.083 |  | 0.502
402.5 |  | 0.085 |  | 0.502
403 |  | 0.084 |  | 0.503
403.5 |  | 0.085 |  | 0.502
404 |  | 0.084 |  | 0.504
404.5 |  | 0.084 |  | 0.504
405 |  | 0.084 |  | 0.503
405.5 |  | 0.084 |  | 0.503
406 |  | 0.084 |  | 0.503
406.5 |  | 0.084 |  | 0.502
407 |  | 0.084 |  | 0.501
407.5 |  | 0.084 |  | 0.501
408 |  | 0.085 |  | 0.499
408.5 |  | 0.084 |  | 0.499
409 |  | 0.084 |  | 0.498
409.5 |  | 0.085 |  | 0.496
410 |  | 0.085 |  | 0.493
410.5 |  | 0.085 |  | 0.491
411 |  | 0.085 |  | 0.491
411.5 |  | 0.084 |  | 0.488
412 |  | 0.084 |  | 0.486
412.5 |  | 0.085 |  | 0.484
413 |  | 0.086 |  | 0.48
413.5 |  | 0.085 |  | 0.479
414 |  | 0.085 |  | 0.476
414.5 |  | 0.084 |  | 0.474
415 |  | 0.084 |  | 0.47
415.5 |  | 0.085 |  | 0.467
416 |  | 0.084 |  | 0.464
416.5 |  | 0.084 |  | 0.461
417 |  | 0.083 |  | 0.457
417.5 |  | 0.084 |  | 0.455
418 |  | 0.083 |  | 0.45
418.5 |  | 0.082 |  | 0.448
419 |  | 0.084 |  | 0.443
419.5 |  | 0.082 |  | 0.441
420 |  | 0.083 |  | 0.435
420.5 |  | 0.083 |  | 0.432
421 |  | 0.082 |  | 0.428
421.5 |  | 0.082 |  | 0.424
422 |  | 0.082 |  | 0.421
422.5 |  | 0.082 |  | 0.417
423 |  | 0.081 |  | 0.412
423.5 |  | 0.082 |  | 0.408
424 |  | 0.082 |  | 0.403
424.5 |  | 0.08 |  | 0.4
425 |  | 0.08 |  | 0.395
425.5 |  | 0.081 |  | 0.392
426 |  | 0.081 |  | 0.387
426.5 |  | 0.079 |  | 0.383
427 |  | 0.08 |  | 0.379
427.5 |  | 0.081 |  | 0.374
428 |  | 0.08 |  | 0.37
428.5 |  | 0.08 |  | 0.366
429 |  | 0.079 |  | 0.362
429.5 |  | 0.079 |  | 0.358
430 |  | 0.079 |  | 0.354
430.5 |  | 0.079 |  | 0.349
431 |  | 0.079 |  | 0.344
431.5 |  | 0.08 |  | 0.34
432 |  | 0.079 |  | 0.336
432.5 |  | 0.079 |  | 0.332
433 |  | 0.078 |  | 0.328
433.5 |  | 0.079 |  | 0.323
434 |  | 0.078 |  | 0.32
434.5 |  | 0.077 |  | 0.317
435 |  | 0.077 |  | 0.313
435.5 |  | 0.077 |  | 0.308
436 |  | 0.077 |  | 0.305
436.5 |  | 0.077 |  | 0.301
437 |  | 0.077 |  | 0.297
437.5 |  | 0.077 |  | 0.294
438 |  | 0.076 |  | 0.29
438.5 |  | 0.077 |  | 0.286
439 |  | 0.077 |  | 0.283
439.5 |  | 0.076 |  | 0.279
440 |  | 0.076 |  | 0.275
440.5 |  | 0.076 |  | 0.271
441 |  | 0.077 |  | 0.266
441.5 |  | 0.076 |  | 0.264
442 |  | 0.076 |  | 0.262
442.5 |  | 0.077 |  | 0.258
443 |  | 0.074 |  | 0.256
443.5 |  | 0.075 |  | 0.252
444 |  | 0.075 |  | 0.249
444.5 |  | 0.075 |  | 0.246
445 |  | 0.074 |  | 0.243
445.5 |  | 0.074 |  | 0.241
446 |  | 0.074 |  | 0.238
446.5 |  | 0.074 |  | 0.236
447 |  | 0.073 |  | 0.234
447.5 |  | 0.075 |  | 0.228
448 |  | 0.073 |  | 0.227
448.5 |  | 0.073 |  | 0.225
449 |  | 0.073 |  | 0.222
449.5 |  | 0.072 |  | 0.221
450 |  | 0.073 |  | 0.216
450.5 |  | 0.072 |  | 0.215
451 |  | 0.072 |  | 0.214
451.5 |  | 0.072 |  | 0.211
452 |  | 0.072 |  | 0.209
452.5 |  | 0.072 |  | 0.206
453 |  | 0.073 |  | 0.203
453.5 |  | 0.072 |  | 0.201
454 |  | 0.072 |  | 0.199
454.5 |  | 0.072 |  | 0.198
455 |  | 0.072 |  | 0.195
455.5 |  | 0.071 |  | 0.194
456 |  | 0.07 |  | 0.191
456.5 |  | 0.071 |  | 0.189
457 |  | 0.071 |  | 0.187
457.5 |  | 0.07 |  | 0.186
458 |  | 0.07 |  | 0.184
458.5 |  | 0.07 |  | 0.182
459 |  | 0.07 |  | 0.18
459.5 |  | 0.07 |  | 0.179
460 |  | 0.07 |  | 0.176
460.5 |  | 0.07 |  | 0.176
461 |  | 0.069 |  | 0.174
461.5 |  | 0.07 |  | 0.173
462 |  | 0.069 |  | 0.172
462.5 |  | 0.069 |  | 0.169
463 |  | 0.068 |  | 0.17
463.5 |  | 0.068 |  | 0.168
464 |  | 0.067 |  | 0.166
464.5 |  | 0.068 |  | 0.164
465 |  | 0.069 |  | 0.163
465.5 |  | 0.068 |  | 0.162
466 |  | 0.069 |  | 0.16
466.5 |  | 0.068 |  | 0.159
467 |  | 0.068 |  | 0.159
467.5 |  | 0.068 |  | 0.157
468 |  | 0.067 |  | 0.156
468.5 |  | 0.068 |  | 0.153
469 |  | 0.067 |  | 0.154
469.5 |  | 0.067 |  | 0.152
470 |  | 0.066 |  | 0.151
470.5 |  | 0.067 |  | 0.15
471 |  | 0.066 |  | 0.15
471.5 |  | 0.068 |  | 0.147
472 |  | 0.066 |  | 0.148
472.5 |  | 0.067 |  | 0.146
473 |  | 0.066 |  | 0.145
473.5 |  | 0.066 |  | 0.144
474 |  | 0.066 |  | 0.142
474.5 |  | 0.066 |  | 0.141
475 |  | 0.066 |  | 0.141
475.5 |  | 0.066 |  | 0.141
476 |  | 0.066 |  | 0.14
476.5 |  | 0.067 |  | 0.138
477 |  | 0.066 |  | 0.137
477.5 |  | 0.066 |  | 0.137
478 |  | 0.064 |  | 0.137
478.5 |  | 0.065 |  | 0.136
479 |  | 0.064 |  | 0.136
479.5 |  | 0.064 |  | 0.136
480 |  | 0.065 |  | 0.133
480.5 |  | 0.064 |  | 0.132
481 |  | 0.065 |  | 0.132
481.5 |  | 0.063 |  | 0.134
482 |  | 0.063 |  | 0.131
482.5 |  | 0.063 |  | 0.13
483 |  | 0.062 |  | 0.13
483.5 |  | 0.062 |  | 0.13
484 |  | 0.063 |  | 0.128
484.5 |  | 0.063 |  | 0.13
485 |  | 0.064 |  | 0.128
485.5 |  | 0.065 |  | 0.126
486 |  | 0.065 |  | 0.125
486.5 |  | 0.063 |  | 0.127
487 |  | 0.064 |  | 0.126
487.5 |  | 0.064 |  | 0.125
488 |  | 0.063 |  | 0.125
488.5 |  | 0.065 |  | 0.123
489 |  | 0.064 |  | 0.125
489.5 |  | 0.062 |  | 0.124
490 |  | 0.064 |  | 0.124
490.5 |  | 0.062 |  | 0.125
491 |  | 0.061 |  | 0.125
491.5 |  | 0.062 |  | 0.123
492 |  | 0.061 |  | 0.124
492.5 |  | 0.062 |  | 0.121
493 |  | 0.061 |  | 0.122
493.5 |  | 0.061 |  | 0.122
494 |  | 0.063 |  | 0.12
494.5 |  | 0.062 |  | 0.122
495 |  | 0.061 |  | 0.122
495.5 |  | 0.061 |  | 0.121
496 |  | 0.061 |  | 0.121
496.5 |  | 0.061 |  | 0.12
497 |  | 0.061 |  | 0.12
497.5 |  | 0.06 |  | 0.119
498 |  | 0.061 |  | 0.119
498.5 |  | 0.061 |  | 0.119
499 |  | 0.061 |  | 0.118
499.5 |  | 0.06 |  | 0.118
500 |  | 0.061 |  | 0.118
500.5 |  | 0.06 |  | 0.118
501 |  | 0.06 |  | 0.116
501.5 |  | 0.06 |  | 0.117
502 |  | 0.06 |  | 0.116
502.5 |  | 0.059 |  | 0.118
503 |  | 0.06 |  | 0.116
503.5 |  | 0.059 |  | 0.117
504 |  | 0.058 |  | 0.117
504.5 |  | 0.057 |  | 0.117
505 |  | 0.057 |  | 0.116
505.5 |  | 0.056 |  | 0.117
506 |  | 0.058 |  | 0.115
506.5 |  | 0.057 |  | 0.115
507 |  | 0.057 |  | 0.115
507.5 |  | 0.057 |  | 0.115
508 |  | 0.057 |  | 0.115
508.5 |  | 0.057 |  | 0.113
509 |  | 0.055 |  | 0.114
509.5 |  | 0.056 |  | 0.115
510 |  | 0.056 |  | 0.115
510.5 |  | 0.056 |  | 0.115
511 |  | 0.056 |  | 0.114
511.5 |  | 0.056 |  | 0.113
512 |  | 0.057 |  | 0.112
512.5 |  | 0.056 |  | 0.113
513 |  | 0.057 |  | 0.112
513.5 |  | 0.055 |  | 0.114
514 |  | 0.055 |  | 0.114
514.5 |  | 0.056 |  | 0.113
515 |  | 0.055 |  | 0.114
515.5 |  | 0.055 |  | 0.113
516 |  | 0.056 |  | 0.112
516.5 |  | 0.056 |  | 0.112
517 |  | 0.055 |  | 0.113
517.5 |  | 0.055 |  | 0.113
518 |  | 0.054 |  | 0.113
518.5 |  | 0.055 |  | 0.113
519 |  | 0.055 |  | 0.113
519.5 |  | 0.055 |  | 0.111
520 |  | 0.054 |  | 0.113
520.5 |  | 0.055 |  | 0.111
521 |  | 0.055 |  | 0.112
521.5 |  | 0.055 |  | 0.111
522 |  | 0.054 |  | 0.112
522.5 |  | 0.054 |  | 0.111
523 |  | 0.053 |  | 0.112
523.5 |  | 0.053 |  | 0.112
524 |  | 0.053 |  | 0.111
524.5 |  | 0.053 |  | 0.112
525 |  | 0.053 |  | 0.111
525.5 |  | 0.053 |  | 0.111
526 |  | 0.053 |  | 0.111
526.5 |  | 0.053 |  | 0.112
527 |  | 0.053 |  | 0.112
527.5 |  | 0.054 |  | 0.111
528 |  | 0.051 |  | 0.112
528.5 |  | 0.053 |  | 0.111
529 |  | 0.053 |  | 0.11
529.5 |  | 0.054 |  | 0.11
530 |  | 0.053 |  | 0.111
530.5 |  | 0.053 |  | 0.11
531 |  | 0.053 |  | 0.111
531.5 |  | 0.052 |  | 0.112
532 |  | 0.052 |  | 0.111
532.5 |  | 0.052 |  | 0.11
533 |  | 0.052 |  | 0.111
533.5 |  | 0.051 |  | 0.11
534 |  | 0.051 |  | 0.111
534.5 |  | 0.052 |  | 0.11
535 |  | 0.051 |  | 0.111
535.5 |  | 0.05 |  | 0.11
536 |  | 0.05 |  | 0.11
536.5 |  | 0.05 |  | 0.111
537 |  | 0.05 |  | 0.11
537.5 |  | 0.05 |  | 0.11
538 |  | 0.05 |  | 0.109
538.5 |  | 0.05 |  | 0.109
539 |  | 0.05 |  | 0.109
539.5 |  | 0.049 |  | 0.11
540 |  | 0.049 |  | 0.11
540.5 |  | 0.049 |  | 0.109
541 |  | 0.049 |  | 0.109
541.5 |  | 0.049 |  | 0.109
542 |  | 0.049 |  | 0.108
542.5 |  | 0.049 |  | 0.109
543 |  | 0.048 |  | 0.11
543.5 |  | 0.048 |  | 0.109
544 |  | 0.048 |  | 0.108
544.5 |  | 0.048 |  | 0.109
545 |  | 0.048 |  | 0.108
545.5 |  | 0.048 |  | 0.108
546 |  | 0.048 |  | 0.108
546.5 |  | 0.048 |  | 0.107
547 |  | 0.047 |  | 0.109
547.5 |  | 0.047 |  | 0.108
548 |  | 0.046 |  | 0.108
548.5 |  | 0.047 |  | 0.108
549 |  | 0.047 |  | 0.108
549.5 |  | 0.047 |  | 0.107
550 |  | 0.046 |  | 0.108
550.5 |  | 0.046 |  | 0.108
551 |  | 0.046 |  | 0.107
551.5 |  | 0.045 |  | 0.108
552 |  | 0.045 |  | 0.107
552.5 |  | 0.045 |  | 0.107
553 |  | 0.046 |  | 0.106
553.5 |  | 0.045 |  | 0.107
554 |  | 0.045 |  | 0.107
554.5 |  | 0.044 |  | 0.107
555 |  | 0.045 |  | 0.106
555.5 |  | 0.045 |  | 0.105
556 |  | 0.045 |  | 0.105
556.5 |  | 0.044 |  | 0.106
557 |  | 0.044 |  | 0.106
557.5 |  | 0.044 |  | 0.106
558 |  | 0.044 |  | 0.106
558.5 |  | 0.044 |  | 0.105
559 |  | 0.043 |  | 0.105
559.5 |  | 0.043 |  | 0.105
560 |  | 0.043 |  | 0.105
560.5 |  | 0.043 |  | 0.105
561 |  | 0.043 |  | 0.105
561.5 |  | 0.043 |  | 0.105
562 |  | 0.043 |  | 0.105
562.5 |  | 0.042 |  | 0.105
563 |  | 0.042 |  | 0.105
563.5 |  | 0.042 |  | 0.105
564 |  | 0.042 |  | 0.104
564.5 |  | 0.042 |  | 0.105
565 |  | 0.042 |  | 0.104
565.5 |  | 0.041 |  | 0.104
566 |  | 0.041 |  | 0.104
566.5 |  | 0.041 |  | 0.104
567 |  | 0.041 |  | 0.104
567.5 |  | 0.041 |  | 0.104
568 |  | 0.041 |  | 0.104
568.5 |  | 0.041 |  | 0.103
569 |  | 0.041 |  | 0.104
569.5 |  | 0.041 |  | 0.103
570 |  | 0.04 |  | 0.103
570.5 |  | 0.04 |  | 0.103
571 |  | 0.04 |  | 0.103
571.5 |  | 0.04 |  | 0.103
572 |  | 0.04 |  | 0.103
572.5 |  | 0.04 |  | 0.103
573 |  | 0.04 |  | 0.103
573.5 |  | 0.04 |  | 0.103
574 |  | 0.039 |  | 0.103
574.5 |  | 0.039 |  | 0.103
575 |  | 0.039 |  | 0.102
575.5 |  | 0.039 |  | 0.102
576 |  | 0.039 |  | 0.102
576.5 |  | 0.039 |  | 0.103
577 |  | 0.039 |  | 0.102
577.5 |  | 0.039 |  | 0.102
578 |  | 0.039 |  | 0.102
578.5 |  | 0.039 |  | 0.102
579 |  | 0.038 |  | 0.102
579.5 |  | 0.038 |  | 0.102
580 |  | 0.038 |  | 0.102
580.5 |  | 0.038 |  | 0.102
581 |  | 0.038 |  | 0.102
581.5 |  | 0.038 |  | 0.101
582 |  | 0.038 |  | 0.101
582.5 |  | 0.038 |  | 0.102
583 |  | 0.037 |  | 0.102
583.5 |  | 0.038 |  | 0.101
584 |  | 0.037 |  | 0.101
584.5 |  | 0.037 |  | 0.101
585 |  | 0.037 |  | 0.101
585.5 |  | 0.037 |  | 0.102
586 |  | 0.037 |  | 0.101
586.5 |  | 0.037 |  | 0.101
587 |  | 0.037 |  | 0.101
587.5 |  | 0.036 |  | 0.101
588 |  | 0.036 |  | 0.101
588.5 |  | 0.036 |  | 0.101
589 |  | 0.036 |  | 0.101
589.5 |  | 0.036 |  | 0.101
590 |  | 0.036 |  | 0.101
590.5 |  | 0.036 |  | 0.1
591 |  | 0.036 |  | 0.1
591.5 |  | 0.036 |  | 0.101
592 |  | 0.036 |  | 0.101
592.5 |  | 0.036 |  | 0.1
593 |  | 0.036 |  | 0.1
593.5 |  | 0.036 |  | 0.1
594 |  | 0.035 |  | 0.1
594.5 |  | 0.035 |  | 0.101
595 |  | 0.035 |  | 0.1
595.5 |  | 0.035 |  | 0.1
596 |  | 0.035 |  | 0.1
596.5 |  | 0.035 |  | 0.1
597 |  | 0.035 |  | 0.1
597.5 |  | 0.035 |  | 0.1
598 |  | 0.035 |  | 0.1
598.5 |  | 0.035 |  | 0.1
599 |  | 0.035 |  | 0.1
599.5 |  | 0.035 |  | 0.1
600 |  | 0.035 |  | 0.1
600.5 |  | 0.035 |  | 0.1
601 |  | 0.035 |  | 0.099
601.5 |  | 0.035 |  | 0.1
602 |  | 0.035 |  | 0.099
602.5 |  | 0.034 |  | 0.099
603 |  | 0.034 |  | 0.099
603.5 |  | 0.033 |  | 0.099
604 |  | 0.034 |  | 0.099
604.5 |  | 0.034 |  | 0.099
605 |  | 0.033 |  | 0.1
605.5 |  | 0.033 |  | 0.099
606 |  | 0.033 |  | 0.099
606.5 |  | 0.034 |  | 0.098
607 |  | 0.034 |  | 0.099
607.5 |  | 0.033 |  | 0.099
608 |  | 0.033 |  | 0.099
608.5 |  | 0.033 |  | 0.098
609 |  | 0.033 |  | 0.098
609.5 |  | 0.033 |  | 0.099
610 |  | 0.033 |  | 0.097
610.5 |  | 0.034 |  | 0.098
611 |  | 0.033 |  | 0.098
611.5 |  | 0.033 |  | 0.098
612 |  | 0.033 |  | 0.098
612.5 |  | 0.033 |  | 0.098
613 |  | 0.032 |  | 0.098
613.5 |  | 0.033 |  | 0.097
614 |  | 0.033 |  | 0.098
614.5 |  | 0.033 |  | 0.097
615 |  | 0.033 |  | 0.098
615.5 |  | 0.033 |  | 0.098
616 |  | 0.034 |  | 0.097
616.5 |  | 0.033 |  | 0.097
617 |  | 0.033 |  | 0.097
617.5 |  | 0.033 |  | 0.097
618 |  | 0.033 |  | 0.097
618.5 |  | 0.033 |  | 0.097
619 |  | 0.033 |  | 0.097
619.5 |  | 0.033 |  | 0.098
620 |  | 0.033 |  | 0.097
620.5 |  | 0.033 |  | 0.097
621 |  | 0.033 |  | 0.097
621.5 |  | 0.032 |  | 0.097
622 |  | 0.033 |  | 0.096
622.5 |  | 0.033 |  | 0.096
623 |  | 0.033 |  | 0.096
623.5 |  | 0.033 |  | 0.096
624 |  | 0.033 |  | 0.096
624.5 |  | 0.034 |  | 0.095
625 |  | 0.032 |  | 0.096
625.5 |  | 0.032 |  | 0.096
626 |  | 0.033 |  | 0.095
626.5 |  | 0.032 |  | 0.096
627 |  | 0.032 |  | 0.096
627.5 |  | 0.032 |  | 0.096
628 |  | 0.032 |  | 0.096
628.5 |  | 0.033 |  | 0.094
629 |  | 0.032 |  | 0.095
629.5 |  | 0.032 |  | 0.096
630 |  | 0.032 |  | 0.095
630.5 |  | 0.033 |  | 0.095
631 |  | 0.033 |  | 0.095
631.5 |  | 0.034 |  | 0.094
632 |  | 0.033 |  | 0.095
632.5 |  | 0.033 |  | 0.095
633 |  | 0.033 |  | 0.094
633.5 |  | 0.033 |  | 0.093
634 |  | 0.033 |  | 0.094
634.5 |  | 0.032 |  | 0.095
635 |  | 0.033 |  | 0.093
635.5 |  | 0.032 |  | 0.094
636 |  | 0.032 |  | 0.093
636.5 |  | 0.033 |  | 0.094
637 |  | 0.033 |  | 0.094
637.5 |  | 0.033 |  | 0.094
638 |  | 0.033 |  | 0.094
638.5 |  | 0.034 |  | 0.092
639 |  | 0.034 |  | 0.093
639.5 |  | 0.034 |  | 0.093
640 |  | 0.034 |  | 0.093
640.5 |  | 0.033 |  | 0.094
641 |  | 0.034 |  | 0.093
641.5 |  | 0.033 |  | 0.092
642 |  | 0.033 |  | 0.093
642.5 |  | 0.033 |  | 0.093
643 |  | 0.033 |  | 0.093
643.5 |  | 0.034 |  | 0.092
644 |  | 0.034 |  | 0.092
644.5 |  | 0.035 |  | 0.091
645 |  | 0.033 |  | 0.092
645.5 |  | 0.034 |  | 0.092
646 |  | 0.032 |  | 0.093
646.5 |  | 0.034 |  | 0.092
647 |  | 0.034 |  | 0.092
647.5 |  | 0.034 |  | 0.091
648 |  | 0.034 |  | 0.092
648.5 |  | 0.034 |  | 0.092
649 |  | 0.033 |  | 0.092
649.5 |  | 0.034 |  | 0.092
650 |  | 0.034 |  | 0.092
650.5 |  | 0.034 |  | 0.09
651 |  | 0.034 |  | 0.09
651.5 |  | 0.034 |  | 0.091
652 |  | 0.034 |  | 0.091
652.5 |  | 0.034 |  | 0.091
653 |  | 0.034 |  | 0.091
653.5 |  | 0.035 |  | 0.091
654 |  | 0.034 |  | 0.09
654.5 |  | 0.035 |  | 0.089
655 |  | 0.034 |  | 0.09
655.5 |  | 0.034 |  | 0.091
656 |  | 0.034 |  | 0.091
656.5 |  | 0.035 |  | 0.089
657 |  | 0.033 |  | 0.091
657.5 |  | 0.033 |  | 0.09
658 |  | 0.034 |  | 0.089
658.5 |  | 0.033 |  | 0.089
659 |  | 0.034 |  | 0.088
659.5 |  | 0.034 |  | 0.088
660 |  | 0.034 |  | 0.088
660.5 |  | 0.033 |  | 0.088
661 |  | 0.034 |  | 0.087
661.5 |  | 0.034 |  | 0.088
662 |  | 0.035 |  | 0.088
662.5 |  | 0.035 |  | 0.088
663 |  | 0.034 |  | 0.087
663.5 |  | 0.036 |  | 0.087
664 |  | 0.035 |  | 0.087
664.5 |  | 0.036 |  | 0.086
665 |  | 0.035 |  | 0.086
665.5 |  | 0.036 |  | 0.086
666 |  | 0.037 |  | 0.085
666.5 |  | 0.037 |  | 0.086
667 |  | 0.036 |  | 0.085
667.5 |  | 0.037 |  | 0.085
668 |  | 0.038 |  | 0.084
668.5 |  | 0.038 |  | 0.084
669 |  | 0.037 |  | 0.084
669.5 |  | 0.037 |  | 0.085
670 |  | 0.037 |  | 0.085
670.5 |  | 0.037 |  | 0.085
671 |  | 0.038 |  | 0.085
671.5 |  | 0.037 |  | 0.084
672 |  | 0.037 |  | 0.083
672.5 |  | 0.038 |  | 0.083
673 |  | 0.039 |  | 0.083
673.5 |  | 0.038 |  | 0.083
674 |  | 0.038 |  | 0.082
674.5 |  | 0.038 |  | 0.082
675 |  | 0.038 |  | 0.083
675.5 |  | 0.039 |  | 0.082
676 |  | 0.039 |  | 0.081
676.5 |  | 0.039 |  | 0.081
677 |  | 0.04 |  | 0.08
677.5 |  | 0.039 |  | 0.081
678 |  | 0.037 |  | 0.081
678.5 |  | 0.038 |  | 0.08
679 |  | 0.04 |  | 0.08
679.5 |  | 0.04 |  | 0.078
680 |  | 0.04 |  | 0.078
680.5 |  | 0.039 |  | 0.078
681 |  | 0.039 |  | 0.079
681.5 |  | 0.039 |  | 0.079
682 |  | 0.039 |  | 0.079
682.5 |  | 0.039 |  | 0.078
683 |  | 0.041 |  | 0.076
683.5 |  | 0.041 |  | 0.077
684 |  | 0.041 |  | 0.076
684.5 |  | 0.041 |  | 0.076
685 |  | 0.041 |  | 0.076
685.5 |  | 0.041 |  | 0.076
686 |  | 0.042 |  | 0.075
686.5 |  | 0.043 |  | 0.075
687 |  | 0.042 |  | 0.076
687.5 |  | 0.043 |  | 0.074
688 |  | 0.042 |  | 0.075
688.5 |  | 0.043 |  | 0.074
689 |  | 0.045 |  | 0.073
689.5 |  | 0.043 |  | 0.074
690 |  | 0.043 |  | 0.074
690.5 |  | 0.043 |  | 0.074
691 |  | 0.044 |  | 0.074
691.5 |  | 0.043 |  | 0.074
692 |  | 0.044 |  | 0.072
692.5 |  | 0.044 |  | 0.072
693 |  | 0.044 |  | 0.072
693.5 |  | 0.043 |  | 0.074
694 |  | 0.045 |  | 0.072
694.5 |  | 0.045 |  | 0.072
695 |  | 0.044 |  | 0.072
695.5 |  | 0.043 |  | 0.073
696 |  | 0.046 |  | 0.071
696.5 |  | 0.045 |  | 0.071
697 |  | 0.045 |  | 0.071
697.5 |  | 0.045 |  | 0.071
698 |  | 0.044 |  | 0.071
698.5 |  | 0.044 |  | 0.071
699 |  | 0.045 |  | 0.07
699.5 |  | 0.045 |  | 0.071
700 |  | 0.045 |  | 0.071